## 6920V2 Sondes
YSI Calibration Log |  | Sonde Type: |  | 6920V2 |  |  |  | - NEW SENSOR/MEMBRANE INSTALLED | [5 empty] | - BREAK IN RECORD |  |  |  | - NO DATA RECORDED |  |  |  | - WOULD NOT CALIBRATE
Date | Last 4 of Sonde S/N | Turbidity | (NTU) |  | Turbidity | (NTU) |  | SpCond | mS/cm |  | pH |  |  | pH |  |  | pH |  |  | DO (Sat%) |  |  | Personnel Initials
|  | Standard used | Start | End | Standard used | Start | End | Standard used | Start | End | Standard used | Start | End | Standard used | Start | End | Standard used | Start | End | Standard used | Start | End
2011-03-03 | 88 | 0 | 0.4 | 0 | 40 | 41 | 40 | 10 | 10.29 | 10 | 7 | 7 | 7 | 10 | 10.11 | 10 | 4 | 4.18 | 4 | 100 | 100 | 93.5
| 87 | 0 | -0.5 | 0 | 40 | 42.2 | 40 | 10 | 9.625 |  | 7 | 6.99 |  | 10 | 10.14 |  | 4 | 3.93 |  | 100 | 94.7
| 89 | 0 | 0 | 0 | 40 | 40 | 40 | 10 | 9.987 |  | 7 | 7.22 |  | 10 | 10.12 |  | 4 | 4.28 |  |  | 93.7
2011-03-29 | 89 | 0 | 0.3 | 0 | 40 | 42.1 | 40 | 10 | 9.687 |  | 7 | 6.8 |  |  | 10.05 |  |  | 4.19 |  |  | 94.1
| 88 | 0 | 0 | 0 | 40 | 41.5 | 40 | 10 | 9.847 |  | 7 | 6.92 |  |  | 10.09 |  |  | 4 |  |  | 94.8
| 87 | 0 | 0.2 | 0 | 40 | 41 | 40 | 10 | 10.65 |  | 7 | 6.9 |  |  | 10.07 |  |  | 4.17 |  |  | 92.6
2011-04-14 | 87 | 0 | -0.7 | 0 | 40 | 41 | 40 | 10 | 10.24 |  | 7 | 6.91 |  |  | 10.04 |  |  | 4.2 |  |  | 89
| 88 | 0 | 0.1 | 0 | 40 | 39.8 | 40 | 10 | 10.42 |  | 7 | 6.97 |  |  | 10.14 |  |  | 4.25 |  |  | 89
| 89 | 0 | 0.7 | 0 | 40 | 33.47 | 40 | 10 | 10.01 |  | 7 | 6.87 |  |  | 9.98 |  |  | na |  |  | 91
2011-05-03 | 87 | 0 | 1.2 | 0 | 40 | 38.9 | 40 | 10 | 18.18 |  | 7 | 6.94 |  |  | 10.21 |  |  | 4.36 |  |  | 96.4
| 88 | 0 | 1.1 | 0 | 40 | 40 | 40 | 10 | 18.72 |  | 7 | 6.94 |  |  | 10.1 |  |  | 4.19 |  |  | 96.1
| 89 | 0 | -0.9 | 0 | 40 | 47.8 | 40 | 10 | 19.57 |  | 7 | 6.87 |  |  | 10.14 |  |  | 4.2 |  |  | 96.6
2011-05-19 | 87 | 0 | -0.1 | 0 | 40 | 40.2 | 40 | 10 | 11.16 |  | 7 | 6.94 |  |  | 10.15 |  |  | 4.1 |  |  | 94.2
| 88 | 0 | -0.8 | 0 | 40 | 34.8 | 40 | 10 | 11.1 |  | 7 | 6.92 |  |  | 10.07 |  |  | 4.14 |  |  | 93.8
| 89 | 0 | 0.4 | 0 | 40 | 39.9 | 40 | 10 | 10.94 |  | 7 | 7.01 |  |  | 9.99 |  |  | 4.14 |  |  | 91.7
2011-06-06 | 87 | 0 | -0.5 | 0 | 40 | 40.8 | 40 | 10 | 10.15 |  | 7 | 7 |  |  | 10 |  |  | 4.16 |  |  | 92.3
| 88 | 0 | 0.7 | 0 | 40 | 39.7 | 40 | 10 | 10.07 |  | 7 | 7.04 |  |  | 10.05 |  |  | 4.16 |  |  | 92.5
| 89 | 0 | 0.3 | 0 | 40 | 39 | 40 | 10 | 10.21 |  | 7 | 7 |  |  | 10.09 |  |  | 4.09 |  |  | 95.1
2011-06-16 | 87 | 0 | -0.5 | 0 | 40 | 41.8 | 40 | 10 | 10.03 |  | 7 | 6.99 |  |  | 10.14 |  |  | 4.2 |  |  | 95.5
| 88 | 0 | -0.8 | 0 | 40 | 40.1 | 40 | 10 | 9.905 |  | 7 | 6.92 |  |  | 10.15 |  |  | 4.2 |  |  | 95.3
| 89 | 0 | -0.3 | 0 | 40 | 41.4 | 40 | 10 | 9.98 |  | 7 | 6.94 |  |  | 10.12 |  |  | 4.19 |  |  | 94.1
2011-06-30 | 87 | 0 | 0.3 | 0 | 40 | 38.1 | 40 | 10 | 9.85 |  | 7 | 6.96 |  |  | 10.09 |  |  | 4.25 |  |  | 92.9
| 88 | 0 | 2.6 | 0 | 40 | 33.1 | 40 | 10 | 10.04 |  | 7 | 7.01 |  |  | 10.07 |  |  | 4.19 |  |  | 93.1
| 89 | 0 | 2 | 0 | 40 | 37 | 40 | 10 | 9.95 |  | 7 | 6.97 |  |  | 10.01 |  |  | 4.2 |  |  | 92.8
2011-07-14 | 88 | 0 | -3 | 0 | 40 | 38.9 | 40 | 10 | 9.907 |  | 7 | 7.01 |  |  | 10.09 |  |  | 4.23 |  |  | 92.9
| 89 | 0 | -2.1 | 0 | 40 | 40.7 | 40 | 10 | 9.99 |  | 7 | 6.94 |  |  | 10.17 |  |  | 4.21 |  |  | 92.8
| 87 | 0 | 1.4 | 0 | 40 | 37.5 | 40 | 10 | 9.88 |  | 7 | 6.94 |  |  | 10.06 |  |  | 4.23 |  |  | 92.8
2011-07-28 | 87 | 0 | -2 | 0 | 40 | 41.3 | 40 | 10 | 9.85 |  | 7 | 6.97 |  |  | 10.11 |  |  | 4.13 |  |  | 80.9
| 88 | 0 | -0.3 | 0 | 40 | 39.1 | 40 | 10 | 9.85 |  | 7 | 6.87 |  |  | 10.11 |  |  | 4.22 |  |  | 81.8
| 89 | 0 | -0.3 | 0 | 40 | 40 | 40 | 10 | 9.72 |  | 7 | 6.94 |  |  | 10.1 |  |  | 4.27 |  |  | 80.6
2011-08-11 | 87 | 0 | 0 | 0 | 40 | 41.8 | 40 | 10 | 10.49 |  | 7 | 6.95 |  |  | 10.12 |  |  | 4.07 |  |  | 108
| 88 | 0 | 0.3 | 0 | 40 | 48.9 | 40 | 10 | 10.43 |  | 7 | 10.06 |  |  | 10.06 |  |  | 4.01 |  |  | 91.1
| 89 | 0 | -0.7 | 0 | 40 | 42.2 | 40 | 10 | 10.53 |  | 7 | 9.99 |  |  | 9.99 |  |  | 4.23 |  |  | 97.8
2011-08-25 | 87 | 0 | 0.2 | 0 | 40 | 40.4 | 40 | 10 | 9.877 |  | 7 | 7.03 |  |  | 10.1 |  |  | 4.19 |  |  | 94.4 |  | KEB
| 88 | 0 | 0 | 0 | 40 | 39.4 | 40 | 10 | 9.855 |  | 7 | 7.04 |  |  | 9.98 |  |  | 4.07 |  |  | 102.5
| 89 | 0 | 1 | 0 | 40 | 39.1 | 40 | 10 | 9.854 |  | 7 | 6.89 |  |  | 10.3 |  |  | 4.17 |  |  | 93.6
2011-09-15 | 87 | 0 | 0.5 | 0 | 40 | 37.6 | 40 | 10 | 9.967 |  | 7 | 6.97 |  |  | 9.98 |  |  | 4.17 |  |  | 92.2
| 88 | 0 | -0.3 | 0 | 40 | 35.7 | 40 | 10 | 9.952 |  | 7 | 6.96 |  |  | 10.12 |  |  | 4.21 |  |  | 100.4
| 89 | 0 | -0.2 | 0 | 40 | 38.8 | 40 | 10 | 9.989 |  | 7 | 6.95 |  |  | 10.06 |  |  | 4.12 |  |  | 105.8
2011-09-29 | 87 | 0 | -0.1 | 0 | 40 | 40 | 40 | 10 | 9.921 |  | 7 | 6.98 |  |  | 10.03 |  |  | 4.1 |  |  | 93.1
| 88 | 0 | 0.3 | 0 | 40 | 34.6 | 40 | 10 | 9.821 |  | 7 | 6.97 |  |  | 10.074 |  |  | 4.82 |  |  | 93
| 89 | 0 | -0.5 | 0 | 40 | 40.4 | 40 | 10 | 9.893 |  | 7 | 7.02 |  |  | 10.01 |  |  | 4.07 |  |  | 93.2
2011-10-18 | 87 | 0 | 0.6 | 0 | 40 | 40 | 40 | 10 | 9.812 |  | 7 | 6.97 |  |  | 10.15 |  |  | 4.21 |  |  | 93.7
| 88 | 0 | 0.6 | 0 | 40 | 38.9 | 40 | 10 | 9.85 |  | 7 | 6.74 |  |  | 10.34 |  |  | 4.37 |  |  | 93.5
| 89 | 0 | 0.7 | 0 | 40 | 39.6 | 40 | 10 | 9.969 |  | 7 | 6.95 |  |  | 10.09 |  |  | 4.16 |  |  | 93.9
2011-11-09 | 87 | 0 | -0.1 | 0 | 40 | 42.2 | 40 | 10 | 9.89 |  | 7 | 6.96 |  |  | 10.09 |  |  | 4.15 |  |  | 93
| 88 | 0 | 0.1 | 0 | 40 | 37.3 | 40 | 10 | 9.94 |  | 7 | 6.93 |  |  | 10.14 |  |  | 4.3 |  |  | 94.5
| 89 | 0 | -0.3 | 0 | 40 | 41.5 | 40 | 10 | 9.879 |  | 7 | 6.96 |  |  | 10.05 |  |  | 4.14 |  |  | 94.3
2011-12-01 | 87 | 0 | -0.8 | 0 | 40 | 39.7 | 40 | 10 | 9.958 |  | 7 | 6.97 |  |  | 10.08 |  |  | 4.2 |  |  | 94.8
| 88 | 0 | -0.6 | 0 | 40 | 38 | 40 | 10 | 9.905 |  | 7 | 6.91 |  |  | 10.09 |  |  | 4.32 |  |  | 95.4
| 89 | 0 | 0.1 | 0 | 40 | 38.7 | 40 | 10 | 9.839 |  | 7 | 7.05 |  |  | 9.97 |  |  | 4.19 |  |  | 81.3
2011-12-15 | 87 | 0 | 0.1 | 0 | 40 | 40.4 | 40 | 10 | 9.991 |  | 7 | 6.93 |  |  | 10.1 |  |  | 4.25 |  |  | 92.9
| 88 | 0 | 0.7 | 0 | 40 | 38.8 | 40 | 10 | 9.928 |  | 7 | 6.91 |  |  | 10.23 |  |  | 4.33 |  |  | 92.8
| 89 | 0 | 0.4 | 0 | 40 | 40.5 | 40 | 10 | 9.949 |  | 7 | 6.91 |  |  | 10.09 |  |  | 4.23 |  |  | 105.9
2011-12-29 | 87 | 0 | -0.2 | 0 | 40 | 39.1 | 40 | 10 | 10.61 |  | 7 | 6.95 |  |  | 10.11 |  |  | 4.22 |  |  | 93.9
| 88 | 0 | -1 | 0 | 40 | 58 | 40 | 10 | 10.6 |  | 7 | 6.83 |  |  | 10.2 |  |  | 4.41 |  |  | 91.2
| 89 | 0 | 0.1 | 0 | 40 | 38.5 | 40 | 10 | 10.59 |  | 7 | 6.94 |  |  | 10.15 |  |  | 4.32 |  |  | 92.7
2012-01-05 | 87 | [5 empty] | 40
| 88 | 0 | 0.1 | 0 | 40 | 39.6 | 40 | RECALIBRATION OF TURBIDITY ONLY DUE TO SENSOR WIPER INSTALLED BACKWARDS
| 89 | [5 empty] | 40
2012-01-12 | 87 | 0 | 2.2 | 0 | 40 | 38.3 | 40 | 10 | 9.851 |  | 7 | 6.91 |  |  | 10.14 |  |  | 4.35 |  |  | 93.3
| 88 | 0 | -2.1 | 0 | 40 | 51.1 | 40 | 10 | 10.02 |  | 7 | 6.94 |  |  | 10.17 |  |  | 4.28 |  |  | 92.7
| 89 | 0 | 2.1 | 0 | 40 | 39.5 | 40 | 10 | 9.878 |  | 7 | 6.87 |  |  | 10.16 |  |  | 4.35 |  |  | 93.8
2012-01-27 | 87 | 0 | -1.7 | 0 | 40 | 39.6 | 40 | 10 | 9.963 |  | 7 | 6.97 |  |  | 10.01 |  |  | 4.08 |  |  | 92.4
| 88 | 0 | 0.4 | 0 | 40 | 36.6 | 40 | 10 | 9.935 |  | 7 | 6.84 |  |  | 10.23 |  |  | 4.04 |  |  | 94
| 89 | 0 | -0.25 | 0 | 40 | 40.5 | 40 | 10 | 9.941 |  | 7 | 6.88 |  |  | 10.2 |  |  | 4.09 |  |  | 92.8
2012-02-10 | 87 | 0 | -0.4 | 0 | 40 | 39.7 | 40 | 10 | 9.952 |  | 7 | 6.97 |  |  | 10.08 |  |  | 4.15 |  |  | 90.7
| 88 | 0 | 0.4 | 0 | 40 | 38.8 | 40 | 10 | 9.895 |  | 7 | 7 |  |  | 10.03 |  |  | 4.12 |  |  | 90.4
| 89 | 0 | 0.5 | 0 | 40 | 37.6 | 40 | 10 | 9.91 |  | 7 | 6.98 |  |  | 10.03 |  |  | 4.08 |  |  | 92.8
2012-02-22 | 87 | 0 | -0.6 | 0 | 40 | 41.6 | 40 | 10 | 9.876 |  | 7 | 6.99 |  |  | 10.02 |  |  | 4.12 |  |  | 95.9
| 88 | 0 | -0.5 | 0 | 40 | 38.3 | 40 | 10 | 9.883 |  | 7 | 6.95 |  |  | 10.05 |  |  | 4.14 |  |  | 95.6
| 89 | 0 | -0.4 | 0 | 40 | 42.3 | 40 | 10 | 9.866 |  | 7 | 6.99 |  |  | 10.04 |  |  | 4.11 |  |  | 96.9
2012-03-08 | 87 | 0 | 0.4 | 0 | 40 | 38.4 | 40 | 10 | 9.877 |  | 7 | 6.98 |  |  | 10.08 |  |  | 4.15 |  |  | 94.2
| 88 | 0 | 0.4 | 0 | 40 | 42.3 | 40 | 10 | 9.867 |  | 7 | 6.98 |  |  | 10.08 |  |  | 4.19 |  |  | 95.1
| 89 | 0 | -0.1 | 0 | 40 | 38.8 | 40 | 10 | 9.859 |  | 7 | 6.91 |  |  | 10.1 |  |  | 4.17 |  |  | 93.7
2012-03-23 | 87 | [6 empty] | 10 | 10.35 |  | 7 | 7.03 |  |  | 9.6 |  |  | 4.37 |  |  | 100.5
| 88 | 0 | 0.5 | 0 | 40 | 40.9 | 40 | 10 | 10.3 |  | 7 | 6.97 |  |  | 10.32 |  |  | 4.24 |  |  | 93.4
| 89 | 0 | 0.7 | 0 | 40 | 42.85 | 40 | 10 | 10.2 |  | 7 | 6.97 |  |  | 10.04 |  |  | 4.28 |  |  | 92.8
2012-04-06 | 87 | 0 | 0.9 | 0 | 40 | 37.9 | 40 | 10 | 10.11 |  | 7 | 6.85 |  |  | 10.28 |  |  | 4.29 |  |  | 97.9
| 88 | 0 | 0.7 | 0 | 40 | 37.9 | 40 | 10 | 10.16 |  | 7 | 6.97 |  |  | 10.03 |  |  | 4.26 |  |  | 89.6
| 89 | 0 | -2.5 | 0 | 40 | 38.2 | 40 | 10 | 10.28 |  | 7 | 6.83 |  |  | 10.21 |  |  | 4.26 |  |  | 96.5
2012-04-20 | 87 | 0 | -1.7 | 0 | 40 | 41.9 | 40 | 10 | 9.901 |  | 7 | 6.9 |  |  | 10.133 |  |  | 4.22 |  |  | 88.5
| 88 | 0 | -1.5 | 0 | 40 | 41.5 | 40 | 10 | 9.848 |  | 7 | 6.89 |  |  | 10.09 |  |  | 4.27 |  |  | 89.8
| 89 | 0 | -1.3 | 0 | 40 | 42.4 | 40 | 10 | 9.879 |  | 7 | 6.9 |  |  | 10.11 |  |  | 4.26 |  |  | 90.7
2012-05-04 | 87 | 0 | 1 | 0 | 40 | 38.8 | 40 | 10 | 9.894 |  | 7 | 6.92 |  |  | 10.16 |  |  | 4.08 |  |  | 96.8
| 88 | 0 | -0.2 | 0 | 40 | 39.6 | 40 | 10 | 9.856 |  | 7 | 6.89 |  |  | 10.27 |  |  | 4.09 |  |  | 96.9
| 89 | 0 | 0.1 | 0 | 40 | 39.6 | 40 | 10 | 9.868 |  | 7 | 6.96 |  |  | 10.02 |  |  | 4.14 |  |  | 96.3
2012-05-18 | 87 | 0 | -0.7 | 0 | 40 | 42.1 | 40 | 10 | 10.15 |  | 7 | 7.02 |  |  | 10.03 |  |  | 4.13 |  |  | 92.1
| 88 | 0 | 0.6 | 0 | 40 | 40.5 | 40 | 10 | 10.11 |  | 7 | 6.98 |  |  | 9.93 |  |  | 4.25 |  |  | 91.9
| 89 | 0 | -0.1 | 0 | 40 | 41.1 | 40 | 10 | 10.02 |  | 7 | 7.09 |  |  | 9.96 |  |  | 4.04 |  |  | 92.7
2012-05-30 | 87 | 0 | -0.1 | 0 | 40 | 39.2 | 40 | 10 | 10 |  | 7 | 7 |  |  | 10.06 |  |  | 4.1 |  |  | 93.2
| 88 | 0 | 0.3 | 0 | 40 | 39.6 | 40 | 10 | 10.05 |  | 7 | 6.96 |  |  | 10.27 |  |  | 4.18 |  |  | 93.7
| 89 | 0 | 0.2 | 0 | 40 | 39.3 | 40 | 10 | 10.19 |  | 7 | 7.03 |  |  | 10.04 |  |  | 4.11 |  |  | 94.8
2012-06-15 | 87 | 0 | 0.2 | 0 | 40 | 40.4 | 40 | 10 | 9.932 |  | 7 | 6.98 |  |  | 10.02 |  |  | 4.18 |  |  | 94.3
| 88 | 0 | -0.3 | 0 | 40 | 39.3 | 40 | 10 | 9.901 |  | 7 | 7.01 |  |  | 9.88 |  |  | 4.08 |  |  | 95.6
| 89 | 0 | 0.2 | 0 | 40 | 40 | 40 | 10 | 9.928 |  | 7 | 6.91 |  |  | 9.99 |  |  | 4.09 |  |  | 94
2012-06-27 | 87 | 0 | -0.5 | 0 | 40 | 41 | 40 | 10 | 9.875 |  | 7 | 6.95 |  |  | 10.06 |  |  | 4.12 |  |  | 94
| 88 | 0 | -0.6 | 0 | 40 | 42.1 | 40 | 10 | 9.868 |  | 7 | 7.02 |  |  | 10.19 |  |  | 4.21 |  |  | 92.5
| 89 | 0 | -0.7 | 0 | 40 | 41 | 40 | 10 | 9.885 |  | 7 | 6.94 |  |  | 10.09 |  |  | 4.11 |  |  | 92.8
2012-07-12 | 87 | 0 | 0.5 | 0 | 40 | 38.9 | 40 | 10 | 9.915 |  | 7 | 6.97 |  |  | 10.06 |  |  | 4.14 |  |  | 93.3
| 88 | 0 | 0.4 | 0 | 40 | 39.2 | 40 | 10 | 9.878 |  | 7 | 6.95 |  |  | 10.03 |  |  | 4.16 |  |  | 93.1
| 89 | 0 | 0.4 | 0 | 40 | 40 | 40 | 10 | 9.948 |  | 7 | 7.17 |  |  | 10.07 |  |  | 4.21 |  |  | 94
2012-07-27 | 87 | 0 | -0.3 | 0 | 40 | 39.6 | 40 | 10 | 10.45 |  | 7 | 6.95 |  |  | 10.14 |  |  | 4.11 |  |  | 94.7
| 88 | 0 | 0.8 | 0 | 40 | 38.2 | 40 | 10 | 10.42 |  | 7 | 6.9 |  |  | 10.24 |  |  | 4.17 |  |  | 94.8
| 89 | 0 | 0.8 | 0 | 40 | 38.2 | 40 | 10 | 10.39 |  | 7 | 7.05 |  |  | 10.06 |  |  | 3.95 |  |  | 94.2
2012-08-09 | 87 | 0 | -0.2 | 0 | 40 | 39.9 | 40 | 10 | 9.883 |  | 7 | 7 |  |  | 10 |  |  | 4.07 |  |  | 91.4
| 88 | 0 | -1.3 | 0 | 40 | 42.3 | 40 | 10 | 9.967 |  | 7 | 6.99 |  |  | 10.01 |  |  | 4.09 |  |  | 93.6
| 89 | 0 | -1.6 | 0 | 40 | 41.7 | 40 | 10 | 10.03 |  | 7 | 6.64 |  |  | 10.16 |  |  | 4.2 |  |  | 92.7
2012-08-23 | 87 | 0 | 0.1 | 0 | 40 | 39.7 | 40 | 10 | 9.975 |  | 7 | 7.03 |  |  | 10.04 |  |  | 4.14 |  |  | 94.3
| 88 | 0 | 0.3 | 0 | 40 | 38.8 | 40 | 10 | 9.85 |  | 7 | 6.98 |  |  | 10.04 |  |  | 4.22 |  |  | 94.3
| 89 | 0 | 0.5 | 0 | 40 | 38.7 | 40 | 10 | 9.903 |  | 7 | 6.99 |  |  | 10.03 |  |  | 4.1 |  |  | 93.6
2012-09-07 | 87 | 0 | 1.2 | 0 | 40 | 38.5 | 40 | 10 | 9.836 |  | 7 | 6.97 |  |  | 10.08 |  |  | 4.2 |  |  | 93.9
| 88 | 0 | -0.2 | 0 | 40 | 40.7 | 40 | 10 | 9.886 |  | 7 | 6.96 |  |  | 10.14 |  |  | 4.21 |  |  | 94.6
| 89 | 0 | -0.7 | 0 | 40 | 42.1 | 40 | 10 | 9.991 |  | 7 | 6.96 |  |  | 10.08 |  |  | 4.12 |  |  | 93.8
2012-09-21 | 87 | 0 | -1.1 | 0 | 40 | 42.1 | 40 | 10 | 10.01 |  | 7 | 6.91 |  |  | 10.08 |  |  | 4.03 |  |  | 94.1
| 88 | 0 | 0.7 | 0 | 40 | 39.5 | 40 | 10 | 9.997 |  | 7 | 6.85 |  |  | 10.08 |  |  | 4.21 |  |  | 92.9
| 89 | 0 | 0.6 | 0 | 40 | 39 | 40 | 10 | 9.734 |  | 7 | 7.11 |  |  | 9.96 |  |  | 4.07 |  |  | 93.9
2012-10-12 | 87 | 0 | 0.3 | 0 | 40 | 40.1 | 40 | 10 | 9.88 |  | 7 | 6.96 |  |  | 10.09 |  |  | 3.96 |  |  | 94.3
| 88 | 0 | -0.7 | 0 | 40 | 40.9 | 40 | 10 | 9.885 |  | 7 | 6.8 |  |  | 10.2 |  |  | 4.25 |  |  | 94.9
| 89 | 0 | -0.3 | 0 | 40 | 40.5 | 40 | 10 | 9.93 |  | 7 | 7.05 |  |  | 9.96 |  |  | 3.82 |  |  | 94.5
2012-10-29 | 87 | 0 | -0.6 | 0 | 40 | 39.3 | 40 | 10 | 9.847 |  | 7 | 6.94 |  |  | 10.05 |  |  | 4.18 |  |  | 92.5
| 88 | 0 | 0 | 0 | 40 | 38.6 | 40 | 10 | 9.994 |  | 7 | 6.96 |  |  | 10.14 |  |  | 4.24 |  |  | 92.4
| 89 | 0 | -0.2 | 0 | 40 | 38.7 | 40 | 10 | 9.923 |  | 7 | 7.02 |  |  | 9.95 |  |  | 4.1 |  |  | 94.3
2012-11-09 | 87 | 0 | 0.6 | 0 | 40 | 40.7 | 40 | 10 | 9.85 |  | 7 | 69.96 |  |  | 10.08 |  |  | 4.19 |  |  | 93.6
| 88 | 0 | 0.7 | 0 | 40 | 41.2 | 40 | 10 | 9.9002 |  | 7 | 6.9 |  |  | 10.06 |  |  | 4.18 |  |  | 94.7
| 89 | 0 | -0.2 | 0 | 40 | 42.8 | 40 | 10 | 9.953 |  | 7 | 6.93 |  |  | 10.1 |  |  | 4.19 |  |  | 93
2012-11-27 | 87 | 0 | -0.3 | 0 | 40 | 38.4 | 40 | 10 | 9.901 |  | 7 | 6.99 |  |  | 10.07 |  |  | 4.15 |  |  | 93.9
| 88 | 0 | -0.3 | 0 | 40 | 39.3 | 40 | 10 | 9.943 |  | 7 | 6.96 |  |  | 10.12 |  |  | 4.26 |  |  | 94.2
| 89 | 0 | 0 | 0 | 40 | 38.6 | 40 | 10 | 9.91 |  | 7 | 6.95 |  |  | 10.06 |  |  | 4.18 |  |  | 94.6
2012-12-14 | 87 | 0 | 0.2 | 0 | 40 | 40.7 | 40 | 10 | 10.01 |  | 7 | 7 |  |  | 10.05 |  |  | 4.2 |  |  | 92.8
| 88 | 0 | -0.7 | 0 | 40 | 40.3 | 40 | 10 | 9.868 |  | 7 | 6.98 |  |  | 10.1 |  |  | 4.25 |  |  | 92.2
| 89 | 0 | 0.7 | 0 | 40 | 38.4 | 40 | 10 | 9.857 |  | 7 | 6.99 |  |  | 10.08 |  |  | 4.21 |  |  | 92
2013-01-07 | 87 | 0 | 0.4 | 0 | 40 | 38.9 | 40 | 10 | 9.899 |  | 7 | 6.88 |  |  | 10.16 |  |  | 4.34 |  |  | 93.4
| 88 | 0 | 0.7 | 0 | 40 | 39.8 | 40 | 10 | 10.01 |  | 7 | 6.87 |  |  | 10.16 |  |  | 4.33 |  |  | 94.3
| 89 | 0 | -0.4 | 0 | 40 | 40.8 | 40 | 10 | 9.981 |  | 7 | 6.92 |  |  | 10.11 |  |  | 4.27 |  |  | 93.5
2013-01-25 | 87 | 0 | -0.8 | 0 | 40 | 41.5 | 40 | 10 | 10.04 |  | 7 | 6.97 |  |  | 10.12 |  |  | 4.26 |  |  | 94.3
| 88 | 0 | -0.2 | 0 | 40 | 40.2 | 40 | 10 | 10.03 |  | 7 | 6.93 |  |  | 10.13 |  |  | 4.34 |  |  | 93.3
| 89 | 0 | 0.6 | 0 | 40 | 40.1 | 40 | 10 | 10 |  | 7 | 6.93 |  |  | 10.12 |  |  | 4.29 |  |  | 94.1
2013-02-15 | 87 | 0 | 0.3 | 0 | 40 | 40.3 | 40 | 10 | 10.14 |  | 7 | 6.88 |  |  | 10.15 |  |  | 4.38 |  |  | 92.5
| 88 | 0 | -0.4 | 0 | 40 | 41 | 40 | 10 | 10.09 |  | 7 | 6.93 |  |  | 10.12 |  |  | 4.29 |  |  | 92
| 89 | 0 | -0.9 | 0 | 40 | 42.1 | 40 | 10 | 8.769 |  | 7 | 6.86 |  |  | 10.17 |  |  | 4.37 |  |  | 92.3
2013-03-05 | 87 | 0 | 0 | 0 | 40 | 38.3 | 40 | 10 | 9.957 |  | 7 | 6.91 |  |  | 10.23 |  |  | 4.01 |  |  | 92.6
| 88 | 0 | 0.2 | 0 | 40 | 39.8 | 40 | 10 | 9.938 |  | 7 | 6.85 |  |  | 10.23 |  |  | 4.05 |  |  | 93.8
| 89 | 0 | 0.7 | 0 | 40 | 38.7 | 40 | 10 | 10.93 |  | 7 | 7 |  |  | 10.19 |  |  | 3.88 |  |  | 93.2
2013-03-19 | 87 | 0 | 0.7 | 0 | 40 | 40.3 | 40 | 10 | 10.05 |  | 7 | 7.07 |  |  | 10.02 |  |  | 3.99 |  |  | 98.1
| 88 | 0 | -0.4 | 0 | 40 | 37.9 | 40 | 10 | 10.14 |  | 7 | 7.22 |  |  | 10.12 |  |  | 3.99 |  |  | 93.7
| 89 | 0 | 0.6 | 0 | 40 | 39.1 | 40 | 10 | 10.5 |  | 7 | 6.93 |  |  | 10.08 |  |  | 4.11 |  |  | 93.3
2013-04-04 | 87 | 0 | -0.7 | 0 | 40 | 40.2 | 40 | 10 | 9.87 |  | 7 | 6.98 |  |  | 10.04 |  |  | 4.03 |  |  | 97.9
| 88 | 0 | -0.7 | 0 | 40 | 39 | 40 | 10 | 9.834 |  | 7 | 6.8 |  |  | 9.96 |  |  | 4.11 |  |  | 94.1
| 89 | 0 | -1.2 | 0 | 40 | 38.4 | 40 | 10 | 9.792 |  | 7 | 6.98 |  |  | 9.97 |  |  | 4.04 |  |  | 94
2013-04-17 | 87 | 0 | -0.4 | 0 | 40 | 39.9 | 40 | 10 | 9.967 |  | 7 | 6.92 |  |  | 10.12 |  |  | 4.06 |  |  | 97.3
| 88 | 0 | -0.2 | 0 | 40 | 39.3 | 40 | 10 | 9.923 |  | 7 | 6.89 |  |  | 10.09 |  |  | 4.03 |  |  | 97.8
| 89 | 0 | -1 | 0 | 40 | 39.7 | 40 | 10 | 9.861 |  | 7 | 7.08 |  |  | 10.11 |  |  | 4.09 |  |  | 97.1
2013-05-24 | 87 | 0 | -0.1 | 0 | 40 | 38.7 | 40 | 10 | 9.99 |  | 7 | 7.06 |  |  | 9.97 |  |  | 4.03 |  |  | 88.8
| 88 | 0 | 0.2 | 0 | 40 | 41.9 | 40 | 10 | 10.05 |  | 7 | 6.92 |  |  | 10.77 |  |  | 4.11 |  |  | 93.2
| 89 | 0 | 0.1 | 0 | 40 | 45.4 | 40 | 10 | 10.12 |  | 7 | 7.18 |  |  | 9.9 |  |  | 3.83 |  |  | 93.1
2013-06-13 | 87 | 0 | -0.1 | 0 | 40 | 39.8 | 40 | 10 | 9.86 |  | 7 | 7.01 |  |  | 9.94 |  |  | 4.05 |  |  | 93.2
| 88 | 0 | -0.2 | 0 | 40 | 38.6 | 40 | 10 | 9.93 |  | 7 | 7.01 |  |  | 9.97 |  |  | 4.01 |  |  | 93.5
| 89 | 0 | 1.4 | 0 | 40 | 35.5 | 40 | 10 | 9.97 |  | 7 | 7.07 |  |  | 9.92 |  |  | 3.88 |  |  | 93.5
2013-07-03 | 87 | 0 | -1 | 0 | 40 | 40.4 | 40 | 10 | 9.87 |  | 7 | 6.97 |  |  | 10.03 |  |  | 4.11 |  |  | 3.7
| 88 | 0 | -0.2 | 0 | 40 | 39.9 | 40 | 10 | 9.97 |  | 7 | 7.05 |  |  | 10 |  |  | 4.05 |  |  | 94
89
2013-07-17 | 88 | 0 | -1.2 | 0 | 40 | 40.9 | 40 | 10 | 9.95 |  | 7 | 7.04 |  |  | 9.97 |  |  | 3.94 |  |  | 94.2
| 87 | 0 | -1.1 | 0 | 40 | 40.6 | 40 | 10 | 10.15 |  | 7 | 7.05 |  |  | 10.05 |  |  | 4.1 |  |  | 93.7
| 89 | 0 | -2 | 0 | 40 | 42.5 | 40 | 10 | 9.53 |  | 7 | 6.61 |  |  | 10.02 |  |  | 4.1 |  |  | 94.7
2013-08-02 | 87 | 0 | 0.1 | 0 | 40 | 40.1 | 40 | 10 | 9.3 |  | 7 | 6.9 |  |  | 10.17 |  |  | 4.11 |  |  | 92.7
| 88 | 0 | 0.7 | 0 | 40 | 42.4 | 40 | 10 | 9.3 |  | 7 | 7.01 |  |  | 9.99 |  |  | 4.15 |  |  | 92.4
| 89 | 0 | 0.7 | 0 | 40 | 41.6 | 40 | 10 | 10.02 |  | 7 | 6.95 |  |  | 9.98 |  |  | 4.05 |  |  | 92.7
2014-01-06 | 87 | 0 | -0.1 | 0 | 40 | 43.1 | 40 | 10 | 10.01 |  | 7 | 7.01 |  |  | 10.01 |  |  | 4.01 |  |  | 98.1
| 88 | 0 | 0 | 0 | 40 | 32.9 | 40 | 10 | 10.01 |  | 7 | 7 |  |  | 10.01 |  |  | 4 |  |  | 97.7
| 89 | 0 | 0.1 | 0 | 40 |  |  | 10 | 10 |  | 7 | 7 |  |  | 10 |  |  | 4.02 |  |  | 98.1
2014-02-12 | 88 | 0 | -2.1 | 0 | 40 | 49.9 | 40 | 10 | 8.74 |  | 7 | 4.4 |  |  | 10.01 |  |  | 4.1
| 89 | [6 empty] | 10 | 9.793
| 87 | [6 empty] | 10 | 9.7 |  | 7 | 6.96 |  |  | 9.99 |  |  | 4.07 |  |  | 94.9
2014-02-28 | 89 | [6 empty] | 10 | 9.831
| 87 | [6 empty] | 10 |  |  | 7 | 7.04 |  |  | 10.07 |  |  | 3.96 |  |  | 94.9 |  |  | NEW SONDE
| 88 | [6 empty] | 10 | 11.15 |  | 7 | 6.99 |  |  | 10.1 |  |  | 4.06 |  |  | 94
2014-03-02 | 88 | 0 | -19.9 | 0 | 80 | 90.8 | 80
2014-03-31 | 87 | 0 | 0.2 | 0 | 40 | 34.8 | 40 | 11.47 | 11.16 |  | 7 | 7 |  |  | 10.11 |  |  | 4.14 |  |  | 100.5
| 88 | 0 | 5.5 | 0 | 40 | 32.9 | 40 | 11.47 | 11.12 |  | 7 | 6.96 |  |  | 10.04 |  |  | 4.1 |  |  | 93.1
| 89 | 0 | 5.7 | 0 | 40 | 31.7 | 40 | 11.47 | 11.19 |  |  | NO PH INSTALLED | [8 empty] | 94
2014-04-16 | 87 | 0 | 1.9 | 0 | 40 | 21 | 40 | 10.51 | 11.07 |  | 7 | 6.96 |  |  | 10.06 |  |  | 4.21 |  |  | 103.5
| 88 | 0 | 53.6 | 0 | 40 | -14.6 | 40 | 10.51 | 11.3 |  | 7 | 7.01 |  |  | 10.06 |  |  | 4.17 |  |  | 101
| 89 | 0 | -1 | 0 | 40 | 38.4 | 40 | 10.51 | 10.89 |  |  | NO PH INSTALLED | [8 empty] | 100.5
2014-05-14 | 87 | 0 | -12.1 | 0 | 40 | 83.8 | 40 | 11.05 | 11.1 |  | 7 | 6.98 |  |  | 10.01 |  |  | 3.97 |  |  | 97.9
| 88 | 0 | -5 | 0 | 40 | 40.9 | 40 | 11.05 | 10.69 |  | 7 | 6.95 |  |  | 10.09 |  |  | 3.97 |  |  | 97.9
2014-06-17 | 29 | 0 | 6.8 | 0 | 40 | 41.7 | 40 | 8.561 | 8.581 |  | 7 | 7.28 |  |  | 10.08 |  |  | 4.17 |  |  | 81.5
2014-06-18 | 87 | 0 | -0.4 | 0 | 40 | 40 | 40 | 8.561 | 7.478 |  | 7 | 6.98 |  |  | 10.07 |  |  | 3.96 |  |  | 8.3
2014-06-18 | 88 | 0 | 1 | 0 | 40 | 40.6 | 40 | 8.561 | 7.295 |  | 7 | 7.11 |  |  | 9.99 |  |  | 4.04 |  |  | 101.4
2014-06-27 | 29 | [6 empty] | 12.24 | 11.2 |  | 7 | 7.1 | [8 empty] | 93.5
2014-07-09 | 87 | 0 | 80.6 | 0 | 40 | -999.9 | 40 | 11.2 | 11.43 |  | 7 | 7.12 |  |  | 10 |  |  | 4.31 |  |  | 94.3
2014-07-09 | 88 | 0 | 0.9 | 0 | 40 | 42.8 | 40 | 11.2 | 11.37 |  | 7 | 7.01 |  |  | 10.04 |  |  | 4.1 |  |  | 89.3
2014-08-07 | 88 | 0 | -0.5 | 0 | 40 | 28 | 40 | 11.2 | 10.89 |  | 7 | 7.03 |  |  | 10.01 |  |  | 4.12 |  |  | 95.7
2014-08-07 | 87 | 0 | 1.5 | 0 | 40 | 27 | 40 | 11.2 | 10.61 |  | 7 | 6.92 |  |  | 10.05 |  |  | 4.16 |  |  | 92.3
2014-11-08 | 88 | 0 | 4 | 0 | 40 | 3.6 | 40 | 12.88 | 6.67 |  | 7 | 6.95 |  |  | 10.04 |  |  | 4.77 |  |  | 95.1
| 87 | 0 | -6.8 | 0 | 40 | 59.4 | 40 | 12.88 | 12.86 |  | 7 | 7.04 |  |  | 10.01 |  |  | 4.52 |  |  | 93.2
2014-12-18 | 88 | 0 | -53.8 | 0 | 40 | 656.2 | 40 | 12.88 | 24.37 |  | 7 | 6.83 |  |  | 10.22 |  |  | 4.49 |  |  | 84.9
| 87 | 0 | 3.3 | 0 | 40 | 35.8 | 40 | 12.88 | 27.54 |  | 7 | 7.01 |  |  | 10.11 |  |  | 3.92 |  |  | 83.7
2015-02-06 | 87 | 0 | 2.4 | 0 | 40 | 33.6 | 40 | 12.88 | 14.11 | 12.88 | 7 | 6.85 | 7 | 10 | 10.01 | 10 | 4 | 4.64 | 4 |  | 100.7
| 88 | 0 | 2.6 | 0 | 40 | 33.4 | 40 | 12.88 | 12.86 | 12.88 | 7 | 6.89 | 7 | 10 | 10.05 | 10 | 4 | 4.72 | 4 |  | 97.5
2015-05-12 | 88 | 0 | -7.6 | 0 | 40 | 44.7 | 40 | 12.88 | 12.65 | 12.88 | 7 | 6.93 | 7 | 10 | 10.02 | 10 | 4 | 4.24 | 4 |  | 94.1
| 87 | 0 | 1 | 0 | 40 | 37 | 40 | 12.88 | 12.88 | 12.88 | 7 | 6.35 | 7 | 10 | 10.27 | 10 | 4 | 4.22 | 4 |  | 93.5
2015-06-10 | 87 | 0 | 2.5 | 0 | 40 | 33.6 | 40 | 12.88 | 13.46 | 12.88 | 7 | 6.86 | 7 | 10 | 10.12 | 10 | 4 | 4.21 | 4 |  | 91.7
| 88 | 0 | 2 | 0 | 40 | 36.2 | 40 | 12.88 | 12.56 | 12.88 | 7 | 6.91 | 7 | 10 | 10.08 | 10 | 4 | 4.31 | 4 |  | 92.4
2015-06-26 | 87 | 0 | 6.1 | 0 | 40 | 36.1 | 40 | 12.88 | 12.56 | 12.88 | 7 | 6.6 | 7 | 10 | 10.42 | 10 | 4 | 4.23 | 4 |  | 93.1
| 88 | 0 | -1.4 | 0 | 40 | 42.3 | 40 | 12.88 | 12.61 | 12.88 | 7 | 6.99 | 7 | 10 | 10.1 | 10 | 4 | 4.23 | 4 |  | 91.4
2015-07-10 | 87 | 0 | -8.8 | 0 | 40 | 47.9 | 40 | 12.88 | 12.23 | 12.88 | 7 | 7.06 | 7 | 10 | 9.86 | 10 | 4 | 4.1 | 4 |  | 93.9
| 88 | 0 | -0.2 | 0 | 40 | 40 | 40 | 12.88 | 12.92 | 12.88 | 7 | 6.92 | 7 | 10 | 10.22 | 10 | 4 | 4.12 | 4 |  | 97
2015-07-31 | 87 | 0 | 1.5 | 0 | 40 | 37.8 | 40 | 12.88 | 13.23 | 12.88 | 7 | 6.94 | 7 | 10 | 10.17 | 10 | 4 | 4.07 | 4 |  | 92.9
| 88 | 0 | -15.5 | 0 | 40 | 47.1 | 40 | 12.88 | 12.89 | 12.88 | 7 | 6.99 | 7 | 10 | 9.99 | 10 | 4 | 4.31 | 4 |  | 96.5
2015-08-14 | 87 | 0 | -0.5 | 0 | 40 | 43 | 40 | 12.88 | 12.59 | 12.88 | 7 | 7.02 | 7 | 10 | 10.02 | 10 | 4 | 4.33 | 4 |  | 94.9
| 88 | 0 | 0.3 | 0 | 40 | 41.4 | 40 | 12.88 | 12.4 | 12.88 | 7 | 6.95 | 7 | 10 | 10.18 | 10 | 4 | 4.15 | 4 |  | 90.8
2015-09-02 | 87 | 0 | -0.9 | 0 | 40 | 39.8 | 40 | 12.88 | 13.24 | 12.88 | 7 | 6.93 | 7 | 10 | 10.44 | 10 | 4 | 4.34 | 4 |  | 93.3
| 88 | 0 | 2 | 0 | 40 | 34.7 | 40 | 12.88 | 13.68 | 12.88 | 7 | 6.99 | 7 | 10 | 10.05 | 10 | 4 | 4.28 | 4 |  | 92.6
2015-09-23 | 87 | 0 | -0.5 | 0 | 40 | 24.1 | 40 | 12.88 | 13.46 | 12.88 | 7 | 6.93 | 7 | 10 | 10.28 | 10 | 4 | 4.01 | 4 |  | 93.5
| 88 | 0 | 0.5 | 0 | 40 | 37.7 | 40 | 12.88 | 13.25 | 12.88 | 7 | 6.83 | 7 | 10 | 10.27 | 10 | 4 | 4.17 | 4 |  | 95.1
2015-10-15 | 88 | 0 | 3.7 | 0 | 40 | 34.1 | 40 | 12.88 | 12.49 | 12.88 | 7 | 6.95 | 7 | 10 | 10.06 | 10 | 4 | 4.51 | 4 |  | 93.4
| 87 | 0 | 0.9 | 0 | 40 | 38.1 | 40 | 12.88 | 12.14 | 12.88 | 7 | 6.96 | 7 | 10 | 9.96 | 10 | 4 | 4.12 | 4 |  | 93
2015-11-06 | 87 | 0 | 0.1 | 0 | 40 | 41.7 | 40 | 12.88 | 13.04 | 12.88 | 7 | 6.98 | 7 | 10 | 10.08 | 10 | 4 | 4.34 | 4 |  | 92.8
| 88 | 0 | -1.8 | 0 | 40 | 45 | 40 | 12.88 | 13.2 | 12.88 | 7 | 6.84 | 7 | 10 | 10.16 | 10 | 4 | 4.3 | 4 |  | 95.4
2015-11-19 | 87 | 0 | -2 | 0 | 40 | 41.6 | 40 | 12.88 | 12.5 | 12.88 | 7 | 6.86 | 7 | 10 | 10.1 | 10 | 4 | 4.36 | 4 |  | 94.1
| 88 | 0 | -2.4 | 0 | 40 | 45 | 40 | 12.88 | 12.34 | 12.88 | 7 | 6.93 | 7 | 10 | 10.18 | 10 | 4 | 4.55 | 4 |  | 92.9
2015-12-11 | 87 | 0 | -1.6 | 0 | 40 | 35 | 40 | 12.88 | 13.09 | 12.88 | 7 | 6.85 | 7 | 10 | 10.09 | 10 | 4 | 4.06 | 4 |  | 94
| 88 | 0 | 0.2 | 0 | 40 | 37.8 | 40 | 12.88 | 13.55 | 12.88 | 7 | 6.93 | 7 | 10 | 10.13 | 10 | 4 | 4.18 | 4 |  | 93.6
2016-01-04 | 87 | 0 | 0.6 | 0 | 40 | 47.1 | 40 | 12.88 | 12.76 | 12.88 | 7 | 6.88 | 7 | 10 | 10.28 | 10 | 4 | 4.09 | 4 |  | 93
| 88 | 0 | 2.1 | 0 | 40 | 47.1 | 40 | 12.88 | 13.27 | 12.88 | 7 | 6.86 | 7 | 10 | 10.24 | 10 | 4 | 4.08 | 4 |  | 96.7
2017-01-29 | 87 | 0 | 0.6 | 0 | 40 | 43 | 40 | 12.88 | 12.16 | 12.88 | 7 | 6.98 | 7 | 10 | 10.01 | 10 | 4 | 4.13 | 4 |  | 93.7
| 88 | 0 | -0.9 | 0 | 40 | 49.6 | 40 | 12.88 | 12.66 | 12.88 | 7 | 6.95 | 7 | 10 | 10.04 | 10 | 4 | 4.33 | 4 |  | 88.1
2017-03-30 | 87 | 0 | -1.7 | 0 | 40 | 38.2 | 40 | 12.88 | 10.59 | 12.88 | 7 | 7.01 | 7 | 10 | 10.02 | 10 | 4 | 4.52 | 4 |  | 91.9
| 88 | 0 | -0.6 | 0 | 40 | 40.3 | 40 | 12.88 | 12.94 | 12.88 | 7 | 7.05 | 7 | 10 | 10.03 | 10 | 4 | 4.5 | 4 |  | 96
2017-04-13 | 87 | 0 | 1.6 | 0 | 40 | 44.8 | 40 | 12.88 | 16.22 | 12.88 | 7 | 6.91 | 7 | 10 | 10.19 | 10 | 4 | 4.62 | 4 |  | 93
| 88 | 0 | 0.6 | 0 | 40 | 42 | 40 | 12.88 | 12.72 | 12.88 | 7 | 6.88 | 7 | 10 | 10.33 | 10 | 4 | 4.42 | 4 |  | 94.1
2017-04-27 | 87 | 0 | 0.1 | 0 | 40 | 35.2 | 40 | 12.88 | 12.88 | 12.88 | 7 | 7.19 | 7 | 10 | 10.13 | 10 | 4 | 4.27 | 4 |  | 92.4
| 88 | 0 | 1.6 | 0 | 40 | 39.1 | 40 | 12.88 | 12.82 | 12.88 | 7 | 6.86 | 7 | 10 | 10.25 | 10 | 4 | 4.56 | 4 |  | 89.7
2017-07-19 | 87 | 0 | -0.1 | 0 | 40 | 40 | 40 | 12.88 | 13.01 | 12.88 | 7 | 7.11 | 7 | 10 | 10.17 | 10 | 4 | 4.44 | 4 |  | 91.1
| 88 | 0 | -0.8 | 0 | 40 | 37.6 | 40 | 12.88 | 12.88 | 12.88 | 7 | 6.94 | 7 | 10 | 10.13 | 10 | 4 | 4.53 | 4 |  | 93.5
2017-08-04 | 87 | 0 | 0.4 | 0 | 40 | 41.8 | 40 | 12.88 | 12.52 | 12.88 | 7 | 7.11 | 7 | 10 | 9.84 | 10 | 4 | 4.52 | 4 |  | 96.1
| 88 | 0 | 1.3 | 0 | 40 | 39.3 | 40 | 12.88 | 12.53 | 12.88 | 7 | 6.96 | 7 | 10 | 10.17 | 10 | 4 | 4.59 | 4 |  | 93
2017-08-23 | 87 | 0 | 0.3 | 0 | 40 | 39.6 | 40 | 12.88 | 10.93 | 12.88 | 7 | 6.78 | 7 | 10 | 10.17 | 10 | 4 | 4.4 | 4 |  | 95.9
| 88 | 0 | -0.5 | 0 | 40 | 37.8 | 40 | 12.88 | 12.54 | 12.88 | 7 | 6.92 | 7 | 10 | 10.11 | 10 | 4 | 4.58 | 4 |  | 93.8
2017-09-10 | 87 | 0 | -0.2 | 0 | 40 | 41.7 | 40 | 12.88 | 13.99 | 12.88 | 7 | 7.16 | 7 | 10 | 10.5 | 10 | 4 | 4.29 | 4 |  | 94.3
| 88 | 0 | 0.2 | 0 | 40 | 27.9 | 40 | 12.88 | 12.62 | 12.88 | 7 | 6.6 | 7 | 10 | 10.2 | 10 | 4 | 4.73 | 4 |  | 95.1
2017-10-11 | 87 | 0 | -0.9 | 0 | 40 | 30.3 | 40 | 12.88 | 13.19 | 12.88 | 7 | 6.83 | 7 | 10 | 10 | 10 | 4 | 4.15 | 4 |  | 92.7
| 88 | 0 | -15.6 | 0 | 40 | 40.8 | 40 | 12.88 | 12.29 | 12.88 | 7 | 6.83 | 7 | 10 | 11.03 | 10 | 4 | 4.51 | 4 |  | 93.8
2017-10-11 | CA | 0 | 3.4 | 0 | 40 | 33.2 | 40 | 12.88 | 12.27 | 12.88 | 7 | 7.2 | 7 | 10 | 9.97 | 10 | 4 | 4.3 | 4 |  | 91.9
2018-01-23 | 87 | 0 | -3.5 | 0 | 40 | 23.2 | 40 | 12.88 | 13.47 | 12.88 | 7 | 7.59 | 7 | 10 | 10.07 | 10 | 4 | 4.15 | 4 |  | 99.9
| 88 | 0 | 0.2 | 0 | 40 | 36.2 | 40 | 12.88 | 13.85 | 12.88 | [10 empty] | 94.9
2018-02-06 | 87 | 0 | -45.8 | 0 | 40 | 79.8 | 40 | 12.88 | 12.29 | 12.88 | 7 | 4.98 | 7 | 10 | 10.12 | 10 | 4 | 4.11 | 4 |  | 49.7
| 88 | 0 | 0.6 | 0 | 40 | 42.1 | 40 | 12.88 | 12.33 | 12.88 | 7 | -4.98 | 7 | 10 | 99.99 | 10 | 4 | 4.07 | 4 |  | 91.4
2018-02-27 | 87 | 0 | -13.2 | 0 | 40 | 29.6 | 40 | 12.88 | 12.43 | 12.88 | 7 | 7.03 | 7 | 10 | 10.01 | 10 | 4 | 4.38 | 4
| 88 | 0 | 1.4 | 0 | 40 | 27.4 | 40 | 12.88 | 12.95 | 12.88 | 7 | 6.99 | 7 | 10 | 10.13 | 10 | 4 | 4.31 | 4 |  | 94.5
2018-03-15 | 87 | 0 | 20.7 | 0 | 40 | 19.4 | 40 | 12.88 | 13.25 | 12.88 | 7 | 6.9 | 7 | 10 | 10.21 | 10 | 4 | 4.28 | 4
| 88 | 0 | -1 | 0 | 40 | 19.1 | 40 | 12.88 | 12.6 | 12.88 | 7 | 6.86 | 7 | 10 | 10.18 | 10 | 4 | 4.46 | 4 |  | 92
2018-04-10 | 87 | 0 | 30.9 | 0 | 40 | -12.2 | 40 | 12.88 | 12.57 | 12.88 | 7 | 6.96 | 7 | 10 | 10.11 | 10 | 4 | 4.41 | 4 |  | -999.9
| 88 | 0 | 1 | 0 | 40 | 53.1 | 40 | 12.88 | 12.46 | 12.88 | 7 | 6.9 | 7 | 10 | 10.23 | 10 | 4 | 4.6 | 4 |  | 95.3
2018-04-26 | 87 | 0 |  | 0 | 40 |  | 40 | 12.88 |  | 12.88 | 7 |  | 7 | 10 |  | 10 | 4 |  | 4
| 88 | 0 | 0.2 | 0 | 40 | 45.2 | 40 | 12.88 | 13.13 | 12.88 | 7 | 6.95 | 7 | 10 | 10.25 | 10 | 4 | 4.61 | 4 |  | 90.4
2018-05-25 | 87 | 0 | -2.7 | 0 | 40 | 1.9 | 40 | 12.88 | 13.19 | 12.88 | 7 | 7.01 | 7 | 10 | 10.15 | 10 | 4 | 4.04 | 4 |  | 90.5
| 88 | 0 | 4 | 0 | 40 | 6.6 | 40 | 12.88 | 12.88 | 12.88 | 7 | 7.05 | 7 | 10 | 10.09 | 10 | 4 | 4.11 | 4 |  | 91.5
2018-06-07 | 87 | 0 | -29.2 | 0 | 40 | 720 | 40 | 12.88 | 12.86 | 12.88 | 7 | 6.95 | 7 | 10 | 10.02 | 10 | 4 | 4.13 | 4 |  | 96.6
| 88 | 0 | 12.2 | 0 | 40 | 245 | 40 | 12.88 | 12.45 | 12.88 | 7 | 6.95 | 7 | 10 | 10.01 | 10 | 4 | 4.14 | 4 |  | 95.3
2018-07-19 | 87 | 0 | 0.2 | 0 | 40 | 31.4 | 40 | 12.88 | 12.6 | 12.88 | 7 | 6.98 | 7 | 10 | 10 | 10 | 4 | 4.01 | 4 |  | 94.1
| 88 | 0 | -1.1 | 0 | 40 | 38.8 | 40 | 12.88 | 12.55 | 12.88 | 7 | 7.09 | 7 | 10 | 10.06 | 10 | 4 | 3.93 | 4 |  | 95.6
2018-09-05 | 87 | 0 | 0.1 | 0 | 40 | 35.3 | 40 | 12.88 |  | 12.88 | 7 | 6.8 | 7 | 10 |  | 10 | 4 |  | 4
| 88 | 0 | 2.4 | 0 | 40 | 39.8 | 40 | 12.88 | 11.86 | 12.88 | 7 | 6.53 | 7 | 10 | 10.04 | 10 | 4 |  | 4 |  | 100.6
2018-09-19 | 87 | 0 | -1.2 | 0 | 40 | 52.5 | 40 | 12.88 | 13.2 | 12.88 | 7 | 6.95 | 7 | 10 | 10.11 | 10 | 4 | 4.31 | 4 |  | 93.3
| 88 | 0 | -1.8 | 0 | 40 | 38.3 | 40 | 12.88 | 12.68 | 12.88 | 7 | 6.98 | 7 | 10 |  | 10 | 4 | 4.33 | 4
2018-10-03 | 87 | 0 | 0.4 | 0 | 40 | 37.1 | 40 | 12.88 | 12.45 | 12.88 | 7 | 6.89 | 7 | 10 | 10.16 | 10 | 4 | 2.5 | 4 |  | 93.8
| 88 | 0 | 1 | 0 | 40 | 43.3 | 40 | 12.88 | 12.73 | 12.88 | 7 | 6.84 | 7 | 10 | 10.17 | 10 | 4 | 4.97 | 4 |  | 95.3
2018-10-17 | 87 | 0 | 1.4 | 0 | 40 | 38.9 | 40 | 12.88 | 12.66 | 12.88 | 7 | 6.89 | 7 | 10 | 10.21 | 10 | 4 | 4.51 | 4 |  | 95.1
| 88 | 0 | -0.4 | 0 | 40 | 41.3 | 40 | 12.88 | 12.2 | 12.88 | 7 | 6.59 | 7 | 10 | 10.53 | 10 | 4 | 4.7 | 4 |  | 92.6
2018-11-14 | 87 | 0 | -1.1 | 0 | 40 | 36.2 | 40 | 12.88 | 12.61 | 12.88 | 7 | 6.8 | 7 | 10 | 10.24 | 10 | 4 | 4.67 | 4 |  | 94.2
| 88 | 0 | -0.1 | 0 | 40 | 35.4 | 40 | 12.88 | 11.88 | 12.88 | 7 | 6.76 | 7 | 10 | 10.31 | 10 | 4 | 4.55 | 4 |  | 74.3
2018-12-05 | 87 | 0 | -0.7 | 0 | 40 | 39.4 | 40 | 12.88 | 12.58 | 12.88 | 7 | 6.82 | 7 | 10 | 10.28 | 10 | 4 | 4.57 | 4 |  | 112.2
| 88 | 0 | -0.3 | 0 | 40 | 44.2 | 40 | 12.88 | 10.42 | 12.88 | 7 | 6.83 | 7 | 10 | 10.08 | 10 | 4 | 4.63 | 4 |  | 91.3
2019-02-19 | 87 | 0 | 1 | 0 | 40 | 14.2 | 40 | 12.88 | 6.793 | 12.88 | 7 | 6.85 | 7 | 10 | 10.39 | 10 | 4 | 4.1 | 4 |  | 96.2
| 88 | 0 | 0.3 | 0 | 40 | 18.4 | 40 | 12.88 | 12.568 | 12.88 | 7 | 6.79 | 7 | 10 | 10.65 | 10 | 4 | 4.1 | 4 |  | 122.3
2019-03-05 | 87 | 0 | 1.6 | 0 | 40 | 64.1 | 40 | 12.88 | 11.23 | 12.88 | 7 | 6.86 | 7 | 10 | 10.01 | 10 | 4 | 4.21 | 4 |  | 97.6
| 88 | 0 | -0.7 | 0 | 40 | 37.7 | 40 | 12.88 | 13.65 | 12.88 | 7 | 6.98 | 7 | 10 | 10.08 | 10 | 4 | 4.11 | 4 |  | 106.6
2019-03-26 | 87 | 0 | 0.8 | 0 | 40 | 37.3 | 40 | 12.88 | 15.45 | 12.88 | 7 | 6.96 | 7 | 10 | 10.19 | 10 | 4 | 4.27 | 4 |  | 93.3
| 88 | 0 | 0 | 0 | 40 | 55.3 | 40 | 12.88 | 8.294 | 12.88 | 7 | 6.96 | 7 | 10 | 10.13 | 10 | 4 | 4.31 | 4 |  | 95.6
2019-04-09 | 87 | 0 | -4.6 | 0 | 40 | 53.8 | 40 | 12.88 | 26.7 | 12.88 | 7 | 6.86 | 7 | 10 | 10.24 | 10 | 4 | 4.42 | 4 |  | 90.8
| 88 | 0 | 1.6 | 0 | 40 | 32.8 | 40 | 12.88 | 57.88 | 12.88 | 7 | 6.88 | 7 | 10 | 10.42 | 10 | 4 | 4.38 | 4 |  | 146.7
2019-04-25 | 87 | 0 | -23.3 | 0 | 40 | -52.2 | 40 | 12.88 | 12.02 | 12.88 | 7 | 6.81 | 7 | 10 | 10.11 | 10 | 4 | 4.39 | 4 |  | 0
| 88 | 0 | -1.2 | 0 | 40 | 43.3 | 40 | 12.88 | 12.92 | 12.88 | 7 | 6.88 | 7 | 10 | 10.08 | 10 | 4 | 4.57 | 4 |  | 100
2019-04-30 | 87 | 0 | 116.8 | 0 | 40 | -66.4 | 40 | 12.88 | 12.96 | 12.88 | 7 | 7.08 | 7 | 10 | 10.1 | 10 | 4 | 4.38 | 4 |  | 0
| 88 | 0 | -0.7 | 0 | 40 | 35.1 | 40 | 12.88 | 12.36 | 12.88 | 7 | 6.79 | 7 | 10 | 10.35 | 10 | 4 | 4.39 | 4 |  | 93.8
2019-05-13 | 87 | 0 | -0.6 | 0 | 40 | 34.9 | 40 | 12.88 | 12.78 | 12.88 | 7 | 6.81 | 7 | 10 | 10.23 | 10 | 4 | 4.41 | 4 |  | 0
| 88 | 0 | 1.1 | 0 | 40 | 43.4 | 40 | 12.88 | 12.62 | 12.88 | 7 | 6.9 | 7 | 10 | 10.22 | 10 | 4 | 4.69 | 4 |  | 92.3
2019-05-29 | 87 | 0 |  | 0 | 40 |  | 40 | 12.88 |  | 12.88 | 7 | 7.03 | 7 | 10 | 8.67 | 10 | 4 | 3.14 | 4
| 88 | 0 | -0.24 | 0 | 40 | 27.6 | 40 | 12.88 | 14.13 | 12.88 | 7 | 6.87 | 7 | 10 | 10.38 | 10 | 4 | 6.13 | 4 |  | 92.7
2019-06-20 | 87 | 0 | -0.4 | 0 | 40 | 101.1 | 40 | 12.88 | 12.96 | 12.88 | 7 | 6.94 | 7 | 10 | 10.04 | 10 | 4 | 4.24 | 4 |  | 91.4
| 88 | 0 | 0 | 0 | 40 | 15 | 40 | 12.88 | 12.5 | 12.88 | 7 | 7.24 | 7 | 10 | 9.66 | 10 | 4 | 4.05 | 4 |  | 95.9
2019-06-25 | CAT | 0 | -55 | 0 | 40 | 161.9 | 40 | 12.88 | 12.16 | 12.88 | 7 | 6.2 | 7 | 10 | 10.19 | 10 | 4 | 3.75 | 4 |  | 91.6
2019-06-26 | 87 | 0 |  | 0 | 40 |  | 40 | 12.88 | 13.37 | 12.88 | 7 |  | 7 | 10 |  | 10 | 4 |  | 4
| 88 | 0 |  | 0 | 40 |  | 40 | 12.88 | 13.73 | 12.88 | 7 |  | 7 | 10 |  | 10 | 4 |  | 4
2019-07-02 | 87 | 0 | 0.5 | 0 | 40 | 28.1 | 40 | 12.88 | 11.67 | 12.88 | 7 | 7.01 | 7 | 10 | 10.07 | 10 | 4 | 6.28 | 4 |  | 95.3
| 88 | 0 | 0.2 | 0 | 40 | 37.4 | 40 | 12.88 | 11.57 | 12.88 | 7 | 6.59 | 7 | 10 | 10.13 | 10 | 4 | 9.46 | 4 |  | 91
2019-07-15 | 88 | 0 | 2.4 | 0 | 40 | 37.8 | 40 | 12.88 | 12.96 | 12.88 | 7 | 6.79 | 7 | 10 | 10.19 | 10 | 4 | 4.61 | 4 |  | 90.7
| 87 | 0 |  | 0 | 40 |  | 40 | 12.88 |  | 12.88 | 7 |  | 7 | 10 |  | 10 | 4 |  | 4
2019-07-29 | 88 | 0 | -0.3 | 0 | 40 | 39.8 | 40 | 12.88 | 12.87 | 12.88 | 7 | 7.01 | 7 | 10 | 8.76 | 10 | 4 | 4.19 | 4 |  | 97.3
2019-08-14 | 87 | 0 | 5.5 | 0 | 40 | 26.8 | 40 | 12.88 | 12.5 | 12.88 | 7 | 6.76 | 7 | 10 | 16.94 | 10 | 4 | 4.53 | 4 |  | 89
| 88 | 0 | 1.9 | 0 | 40 | 38.1 | 40 | 12.88 | 20.88 | 12.88 | 7 | 8.58 | 7 | 10 | 8.02 | 10 | 4 | 4.33 | 4 |  | 93
2019-08-29 | 87 | 0 | 0 | 0 | 40 | 50 | 40 | 12.88 | 12.6 | 12.88 | 7 | 6.22 | 7 | 10 | 10.46 | 10 | 4 | 99 | 4 |  | 96.5
| 88 | 0 | -2.2 | 0 | 40 | 38.8 | 40 | 12.88 | 12.21 | 12.88 | 7 | 6.33 | 7 | 10 | 9.82 | 10 | 4 | 3.83 | 4 |  | 93.7
2019-09-12 | 87 | 0 | -1 | 0 | 40 | 49 | 40 | 12.88 | 13.05 | 12.88 | 7 | 19.22 | 7 | 10 | 15.04 | 10 | 4 | 4.45 | 4 |  | 93
| 88 | 0 | 0.9 | 0 | 40 | 47 | 40 | 12.88 | 14.75 | 12.88 | 7 | 7.44 | 7 | 10 | 9.95 | 10 | 4 | 4.73 | 4 |  | 93.5
2019-09-25 | 87 | 0 | 0.1 | 0 | 40 | 39.3 | 40 | 12.88 | 13.6 | 12.88 | 7 | 6.86 | 7 | 10 | 10.18 | 10 | 4 | 4.5 | 4 |  | 93
| 88 | 0 | -0.9 | 0 | 40 | 39.8 | 40 | 12.88 | 12.42 | 12.88 | 7 | 7.28 | 7 | 10 | 9.64 | 10 | 4 | 3.94 | 4 |  | 92.8
| CAT | 0 |  | 0 | 40 |  | 40 | 12.88 | 13.42 | 12.88 | 7 | 7.1 | 7 | 10 | 10.46 | 10 | 4 | 4.6 | 4 |  | 94.3
2019-10-10 | 87 | 0 | 0.1 | 0 | 40 | 39.4 | 40 | 12.88 | 12.07 | 12.88 | 7 | 7.03 | 7 | 10 | 10.07 | 10 | 4 | 4.27 | 4 |  | 94.3
| 88 | 0 | -0.1 | 0 | 40 | 41.2 | 40 | 12.88 | 12.56 | 12.88 | 7 | 9.66 | 7 | 10 | 11.25 | 10 | 4 | 4.26 | 4 |  | 92.9

## EXO3 Sondes
YSI Calibration Log |  | Sonde Type: |  | EXO3
Date | Last 4 of Sonde S/N | Turbidity | (NTU) |  | Turbidity | (NTU) |  | SpCond | mS/cm |  | pH |  |  | pH |  |  | pH |  |  | DO (Sat%) |  |  | Personnel Initials
|  | Standard used | Start | End | Standard used | Start | End | Standard used | Start | End | Standard used | Start | End | Standard used | Start | End | Standard used | Start | End | Standard used | Start | End